## 108420p0
| MAKERCODE | CGRYCODE | NAME1 | NAME2 | DATE | MANUF_STOP | SPVER | FLA_FILE | FRO_FILE | REA_FILE | RIT_FILE | LEF_FILE | BOT_FILE | ETC_FILE | ASS_FLG | REF_AB&HZ50&COMP@QRT | REF_AB&HZ60&COMP@QRT | REF_AB&COMP@QRT | ACL_AB&HZ50@QKW | ACL_AB&HZ60@QKW | ACL_AB&MAX@QKW | ACL_AB&MIN@QKW | HTS_AB&HZ50@QKW | HTS_AB&HZ50&LOTMP@QKW | HTS_AB&HZ60@QKW | HTS_AB&HZ60&LOTMP@QKW | HTS_AB&MAX@QKW | HTS_AB&MIN@QKW | SA_Q&HZ50@M3M | SA_Q&HZ50&HIGH@M3M | SA_Q&HZ50&MID@M3M | SA_Q&HZ50&LOW@M3M | SA_Q&HZ60@M3M | SA_Q&HZ60&HIGH@M3M | SA_Q&HZ60&MID@M3M | SA_Q&HZ60&LOW@M3M | SP&HZ50@PA | SP&HZ60@PA | NOISE_PWL&HZ50&HIGH@DB | NOISE_PWL&HZ50&MID@DB | NOISE_PWL&HZ50&LOW@DB | NOISE_PWL&HZ60&HIGH@DB | NOISE_PWL&HZ60&MID@DB | NOISE_PWL&HZ60&LOW@DB | NOISE_PWL&ACL&HZ50@DB | NOISE_PWL&ACL&HZ60@DB | NOISE_PWL&HTS&HZ50@DB | NOISE_PWL&HTS&HZ60@DB | SIZE_W@MM | SIZE_D@MM | SIZE_H@MM | PRD_QA@WKG | PHASE@ES | VOLTAGE@EV | ELEC_OUT&HZ50&COMP@EKW | ELEC_OUT&HZ60&COMP@EKW | ELEC_OUT&COMP@EKW | ELEC_OUT&FAN@EKW | ELECONSUM&ACL&HZ50@EKW | ELECONSUM&ACL&HZ60@EKW | ELECONSUM&HTS&HZ50@EKW | ELECONSUM&HTS&HZ60@EKW | ELECONSUM&HTS&HZ50&LOTMP@EKW | ELECONSUM&HTS&HZ60&LOTMP@EKW | ELECONSUM&HZ50@EKW | ELECONSUM&HZ60@EKW | OPE_A&ACL&HZ50@EA | OPE_A&ACL&HZ60@EA | OPE_A&ACL&MAX@EA | OPE_A&HTS&HZ50@EA | OPE_A&HTS&HZ60@EA | OPE_A&HTS&MAX@EA | OPE_A&HT&HZ50@EA | OPE_A&HT&HZ60@EA | OPE_A&HZ50@EA | OPE_A&HZ50&HTER@EA | OPE_A&HZ60@EA | OPE_A&HZ60&HTER@EA | STRT_A&HZ50@EA | STRT_A&HZ60@EA | ELEC_EF&ACL&HZ50@EFF | ELEC_EF&ACL&HZ60@EFF | ELEC_EF&HTS&HZ50@EFF | ELEC_EF&HTS&HZ50&HTER@EFF | ELEC_EF&HTS&HZ60@EFF | ELEC_EF&HTS&HZ60&HTER@EFF | ELEC_EF&HT&HZ50@EFF | ELEC_EF&HT&HZ60@EFF | ELEC_EF&HZ50@EFF | ELEC_EF&HZ60@EFF | RA_CONNECT&IN&LOC@MM | RA_CONNECT&IN&SIZE_W@MM | RA_CONNECT&IN&SIZE_H@MM | SA_CONNECT&OUT&LOC&NO01@MM | SA_CONNECT&OUT&SIZE_P&NO01@MM | SA_CONNECT&OUT&LOC&NO02@MM | SA_CONNECT&OUT&SIZE_P&NO02@MM | SA_CONNECT&OUT&LOC&NO03@MM | SA_CONNECT&OUT&SIZE_P&NO03@MM | SA_CONNECT&OUT&LOC&NO04@MM | SA_CONNECT&OUT&SIZE_P&NO04@MM | SA_CONNECT&OUT&LOC&NO05@MM | SA_CONNECT&OUT&SIZE_W&NO05@MM | SA_CONNECT&OUT&SIZE_H&NO05@MM | OA_CONNECT&SIZE_P@MM | OA_CONNECT&SIZE_W@MM | OA_CONNECT&SIZE_H@MM | AIR_DBT&INDOR&ACL@THC | AIR_DBT&INDOR&HTS@THC | AIR_WBT&INDOR&ACL@THC | AIR_OST_DB&ACL@THC | AIR_OST_DB&HTS@THC | AIR_OST_DB&HTS&LOW@THC | AIR_OST_WB&ACL@THC | AIR_OST_WB&HTS@THC | AIR_OST_WB&HTS&LOW@THC | C_T&ACL&IN@THC | H_T&HTS&IN@THC | CDH_T&ACL&IN@THC | CDH_T&HTS&IN@THC | CD_T&IN@THC | CH_CONNECT&IN&LOC@MM | CH_CONNECT&OUT&LOC@MM | CD_CONNECT&IN&OUT&METH | CD_CONNECT&IN&LOC@MM | CD_CONNECT&OUT&LOC@MM | RL_CONNECT&IN&SIZE_P@MM | RL_CONNECT&IN&LOC@MM | RG_CONNECT&IN&SIZE_P@MM | RG_CONNECT&IN&LOC@MM | D_CONNECT&OUT&SIZE_P@ASIZ | D_CONNECT&OUT&LOC@MM | CH_PLS&HZ50@KPA | CH_PLS&HZ60@KPA | CDH_PLS&HZ50@KPA | CDH_PLS&HZ60@KPA | CD_PLS&HZ50@KPA | CD_PLS&HZ60@KPA | 3D_D_FILE | 製品情報
65 | 108420 | 50053003220070 | GE-P1080MG9 | ビル用マルチ 天井埋込形室内機 | 2022/9/15 |  | 08 | 108420\5005300\ge-p1080mg9_1.dxf | 108420\5005300\ge-p1080mg9_2.dxf | 108420\5005300\ge-p1080mg9_3.dxf | 108420\5005300\ge-p1080mg9_4.dxf | 108420\5005300\ge-p1080mg9_5.dxf | 108420\5005300\ge-p1080mg9_6.dxf | [5 empty] | 14 | 14 |  |  | 13.7 |  | 13.7 |  |  |  |  | 18 |  |  |  | 18 |  |  | 210 | 220 | 63 |  |  | 64 | [6 empty] | 850 | 1400 | 470 | 97 | 1 | 200 |  |  |  | 0.2 | 0.24 | 0.34 | 0.24 | 0.34 |  |  |  |  | 1.24 | 1.76 |  | 1.24 | 1.76 | [19 empty] | 0/725/-235/90/0 | 700 | 400 | [8 empty] | -60/-725/-205/270/0 | 600 | 300 |  |  |  | 33 |  | 28 | 33 |  |  |  | -2.9 | [11 empty] | 9.52 | 525/0/-275/0/0 | 15.88 | 525/-96/-315/0/0 | 25 | 450/-350/-435/0/0 | [6 empty] | 108420\5005300\ge-p1080mg9.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=317111
66 | 108420 | 50053003220070 | GE-P1680MG9 | ビル用マルチ 天井埋込形室内機 | 2022/9/15 |  | 08 | 108420\5005300\ge-p1680_2100mg9_1.dxf | 108420\5005300\ge-p1680_2100mg9_2.dxf | 108420\5005300\ge-p1680_2100mg9_3.dxf | 108420\5005300\ge-p1680_2100mg9_4.dxf | 108420\5005300\ge-p1680_2100mg9_5.dxf | 108420\5005300\ge-p1680_2100mg9_6.dxf | [5 empty] | 22.4 | 22.4 |  |  | 21.2 |  | 21.2 |  |  |  |  | 28 |  |  |  | 28 |  |  | 210 | 230 | 67 |  |  | 68 | [6 empty] | 1250 | 1400 | 470 | 114 | 1 | 200 |  |  |  | 0.4 | 0.42 | 0.57 | 0.42 | 0.57 |  |  |  |  | 2.15 | 2.92 |  | 2.15 | 2.92 | [19 empty] | 0/725/-235/90/0 | 1100 | 400 | [8 empty] | -60/-725/-205/270/0 | 1000 | 300 |  |  |  | 33 |  | 28 | 33 |  |  |  | -2.9 | [11 empty] | 9.52 | 725/0/-275/0/0 | 19.05 | 725/-96/-315/0/0 | 25 | 650/-350/-435/0/0 | [6 empty] | 108420\5005300\ge-p1680_2100mg9.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=317112
67 | 108420 | 50053003220070 | GE-P2100MG9 | ビル用マルチ 天井埋込形室内機 | 2022/9/15 |  | 08 | 108420\5005300\ge-p1680_2100mg9_1.dxf | 108420\5005300\ge-p1680_2100mg9_2.dxf | 108420\5005300\ge-p1680_2100mg9_3.dxf | 108420\5005300\ge-p1680_2100mg9_4.dxf | 108420\5005300\ge-p1680_2100mg9_5.dxf | 108420\5005300\ge-p1680_2100mg9_6.dxf | [5 empty] | 28 | 28 |  |  | 26.5 |  | 26.5 |  |  |  |  | 35 |  |  |  | 35 |  |  | 170 | 200 | 71 |  |  | 72 | [6 empty] | 1250 | 1400 | 470 | 121 | 1 | 200 |  |  |  | 0.4 | 0.49 | 0.67 | 0.49 | 0.67 |  |  |  |  | 2.53 | 3.42 |  | 2.53 | 3.42 | [19 empty] | 0/725/-235/90/0 | 1100 | 400 | [8 empty] | -60/-725/-205/270/0 | 1000 | 300 |  |  |  | 33 |  | 28 | 33 |  |  |  | -2.9 | [11 empty] | 9.52 | 725/0/-275/0/0 | 22.2 | 725/-96/-315/0/0 | 25 | 650/-350/-435/0/0 | [6 empty] | 108420\5005300\ge-p1680_2100mg9.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=317113