## 108420p0
MAKERCODE | CGRYCODE | NAME1 | NAME2 | DATE | MANUF_STOP | SPVER | FLA_FILE | FRO_FILE | REA_FILE | RIT_FILE | LEF_FILE | BOT_FILE | ETC_FILE | ASS_FLG | REF_AB&HZ50&COMP@QRT | REF_AB&HZ60&COMP@QRT | REF_AB&COMP@QRT | ACL_AB&HZ50@QKW | ACL_AB&HZ60@QKW | ACL_AB&MAX@QKW | ACL_AB&MIN@QKW | HTS_AB&HZ50@QKW | HTS_AB&HZ50&LOTMP@QKW | HTS_AB&HZ60@QKW | HTS_AB&HZ60&LOTMP@QKW | HTS_AB&MAX@QKW | HTS_AB&MIN@QKW | SA_Q&HZ50@M3M | SA_Q&HZ50&HIGH@M3M | SA_Q&HZ50&MID@M3M | SA_Q&HZ50&LOW@M3M | SA_Q&HZ60@M3M | SA_Q&HZ60&HIGH@M3M | SA_Q&HZ60&MID@M3M | SA_Q&HZ60&LOW@M3M | SP&HZ50@PA | SP&HZ60@PA | SIZE_W@MM | SIZE_D@MM | SIZE_H@MM | PRD_QA@WKG | PHASE@ES | VOLTAGE@EV | ELEC_OUT&HZ50&COMP@EKW | ELEC_OUT&HZ60&COMP@EKW | ELEC_OUT&COMP@EKW | ELEC_OUT&FAN@EKW | ELECONSUM&ACL&HZ50@EKW | ELECONSUM&ACL&HZ60@EKW | ELECONSUM&HTS&HZ50@EKW | ELECONSUM&HTS&HZ60@EKW | ELECONSUM&HT&HZ50@EKW | ELECONSUM&HT&HZ60@EKW | ELECONSUM&HZ50@EKW | ELECONSUM&HZ60@EKW | OPE_A&ACL&HZ50@EA | OPE_A&ACL&HZ60@EA | OPE_A&ACL&MAX@EA | OPE_A&HTS&HZ50@EA | OPE_A&HTS&HZ60@EA | OPE_A&HTS&MAX@EA | OPE_A&HT&HZ50@EA | OPE_A&HT&HZ60@EA | OPE_A&HZ50@EA | OPE_A&HZ50&HTER@EA | OPE_A&HZ60@EA | OPE_A&HZ60&HTER@EA | STRT_A&HZ50@EA | STRT_A&HZ60@EA | ELEC_EF&ACL&HZ50@EFF | ELEC_EF&ACL&HZ60@EFF | ELEC_EF&HTS&HZ50@EFF | ELEC_EF&HTS&HZ50&HTER@EFF | ELEC_EF&HTS&HZ60@EFF | ELEC_EF&HTS&HZ60&HTER@EFF | ELEC_EF&HT&HZ50@EFF | ELEC_EF&HT&HZ60@EFF | ELEC_EF&HZ50@EFF | ELEC_EF&HZ60@EFF | RA_CONNECT&IN&LOC@MM | RA_CONNECT&IN&SIZE_W@MM | RA_CONNECT&IN&SIZE_H@MM | SA_CONNECT&OUT&LOC&NO01@MM | SA_CONNECT&OUT&SIZE_W&NO01@MM | SA_CONNECT&OUT&SIZE_H&NO01@MM | SA_CONNECT&OUT&SIZE_P&NO01@MM | SA_CONNECT&OUT&LOC&NO02@MM | SA_CONNECT&OUT&SIZE_P&NO02@MM | SA_CONNECT&OUT&LOC&NO03@MM | SA_CONNECT&OUT&SIZE_P&NO03@MM | SA_CONNECT&OUT&LOC&NO04@MM | SA_CONNECT&OUT&SIZE_P&NO04@MM | OA_CONNECT&SIZE_P@MM | OA_CONNECT&SIZE_W@MM | OA_CONNECT&SIZE_H@MM | AIR_DBT&INDOR&ACL@THC | AIR_DBT&INDOR&HTS@THC | AIR_DBT&INDOR&HTS&LOW@THC | AIR_WBT&INDOR&ACL@THC | AIR_OST_DB&ACL@THC | AIR_OST_DB&HTS@THC | AIR_OST_DB&HTS&LOW@THC | AIR_OST_WB&ACL@THC | AIR_OST_WB&HTS@THC | AIR_OST_WB&HTS&LOW@THC | C_T&ACL&IN@THC | H_T&HTS&IN@THC | CDH_T&ACL&IN@THC | CDH_T&HTS&IN@THC | CD_T&IN@THC | CH_CONNECT&IN&LOC@MM | CH_CONNECT&OUT&LOC@MM | CD_CONNECT&IN&OUT&METH | CD_CONNECT&IN&LOC@MM | CD_CONNECT&OUT&LOC@MM | RL_CONNECT&IN&SIZE_P@MM | RL_CONNECT&IN&LOC@MM | RG_CONNECT&IN&SIZE_P@MM | RG_CONNECT&IN&LOC@MM | D_CONNECT&SIZE_P&OUT&NO01@ASIZ | D_CONNECT&LOC&OUT&NO01@MM | D_CONNECT&SIZE_P&OUT&NO02@ASIZ | D_CONNECT&LOC&OUT&NO02@MM | CH_PLS&HZ50@KPA | CH_PLS&HZ60@KPA | CDH_PLS&HZ50@KPA | CDH_PLS&HZ60@KPA | CD_PLS&HZ50@KPA | CD_PLS&HZ60@KPA | 3D_D_FILE | 製品情報 | Rebro_TreePath | Rebro_AggregateGroupKey | Rebro_AggregateGroup1 | Rebro_AggregateGroup2 | Rebro_AggregateGroup3
108420 | 50053003120050 | PD-RP40GA15 | 空冷H/P PAC 天井ビルトイン形室内機 | 2019/06/21 |  | 08 | 108420\5005300\pd-rp40_56ga15_1.dxf | 108420\5005300\pd-rp40_56ga15_2.dxf | 108420\5005300\pd-rp40_56ga15_3.dxf | 108420\5005300\pd-rp40_56ga15_4.dxf | 108420\5005300\pd-rp40_56ga15_5.dxf | 108420\5005300\pd-rp40_56ga15_6.dxf | [5 empty] | 3.6 | 3.6 |  |  | 4 |  | 4 |  |  |  |  | 14 | 12 | 10 |  | 14 | 12 | 10 | 30 | 30 | 900 | 701 | 272 | 29 | [5 empty] | 0.085 | 0.12 | 0.12 | 0.12 | 0.12 |  |  |  |  | 0.74 | 0.74 |  | 0.69 | 0.69 | [9 empty] | 81 | 81 | 86 |  | 86 | [8 empty] | -225/-385.5/286/270/0 |  |  | 200 | 225/-385.5/286/270/0 | 200 | [8 empty] | 20 |  | 19 | 35 |  |  |  | 6 | [11 empty] | 6.35 |  | 12.7 | 528/-147.5/247/0/0 | 25 | 490/5.5/185/0/0 | 25 | 508/-112.5/361/0/0 | [6 empty] | 108420\5005300\pd-rp40_56ga15.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=298165 | 空調機・換気\店舗・事務所用パッケージエアコン\室内ユニット\天井ビルトイン形 | PAC | 空調機・換気 | 店舗・事務所用パッケージエアコン | 天井ビルトイン形
108420 | 50053003120050 | PD-RP50GA15 | 空冷H/P PAC 天井ビルトイン形室内機 | 2019/06/21 |  | 08 | 108420\5005300\pd-rp40_56ga15_1.dxf | 108420\5005300\pd-rp40_56ga15_2.dxf | 108420\5005300\pd-rp40_56ga15_3.dxf | 108420\5005300\pd-rp40_56ga15_4.dxf | 108420\5005300\pd-rp40_56ga15_5.dxf | 108420\5005300\pd-rp40_56ga15_6.dxf | [5 empty] | 4.5 | 4.5 |  |  | 5 |  | 5 |  |  |  |  | 14 | 12 | 10 |  | 14 | 12 | 10 | 30 | 30 | 900 | 701 | 272 | 29 | [5 empty] | 0.085 | 0.12 | 0.12 | 0.12 | 0.12 |  |  |  |  | 0.74 | 0.74 |  | 0.69 | 0.69 | [9 empty] | 81 | 81 | 86 |  | 86 | [8 empty] | -225/-385.5/286/270/0 |  |  | 200 | 225/-385.5/286/270/0 | 200 | [8 empty] | 20 |  | 19 | 35 |  |  |  | 6 | [11 empty] | 6.35 |  | 12.7 | 528/-147.5/247/0/0 | 25 | 490/5.5/185/0/0 | 25 | 508/-112.5/361/0/0 | [6 empty] | 108420\5005300\pd-rp40_56ga15.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=298166 | 空調機・換気\店舗・事務所用パッケージエアコン\室内ユニット\天井ビルトイン形 | PAC | 空調機・換気 | 店舗・事務所用パッケージエアコン | 天井ビルトイン形
108420 | 50053003120050 | PD-RP56GA15 | 空冷H/P PAC 天井ビルトイン形室内機 | 2019/06/21 |  | 08 | 108420\5005300\pd-rp40_56ga15_1.dxf | 108420\5005300\pd-rp40_56ga15_2.dxf | 108420\5005300\pd-rp40_56ga15_3.dxf | 108420\5005300\pd-rp40_56ga15_4.dxf | 108420\5005300\pd-rp40_56ga15_5.dxf | 108420\5005300\pd-rp40_56ga15_6.dxf | [5 empty] | 5 | 5 |  |  | 5.6 |  | 5.6 |  |  |  |  | 14 | 12 | 10 |  | 14 | 12 | 10 | 30 | 30 | 900 | 701 | 272 | 29 | [5 empty] | 0.085 | 0.12 | 0.12 | 0.12 | 0.12 |  |  |  |  | 0.74 | 0.74 |  | 0.69 | 0.69 | [9 empty] | 81 | 81 | 86 |  | 86 | [8 empty] | -225/-385.5/286/270/0 |  |  | 200 | 225/-385.5/286/270/0 | 200 | [8 empty] | 20 |  | 19 | 35 |  |  |  | 6 | [11 empty] | 6.35 |  | 12.7 | 528/-147.5/247/0/0 | 25 | 490/5.5/185/0/0 | 25 | 508/-112.5/361/0/0 | [6 empty] | 108420\5005300\pd-rp40_56ga15.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=298167 | 空調機・換気\店舗・事務所用パッケージエアコン\室内ユニット\天井ビルトイン形 | PAC | 空調機・換気 | 店舗・事務所用パッケージエアコン | 天井ビルトイン形
108420 | 50053003120050 | PD-RP63GA15 | 空冷H/P PAC 天井ビルトイン形室内機 | 2019/06/21 |  | 08 | 108420\5005300\pd-rp63ga15_1.dxf | 108420\5005300\pd-rp63ga15_2.dxf | 108420\5005300\pd-rp63ga15_3.dxf | 108420\5005300\pd-rp63ga15_4.dxf | 108420\5005300\pd-rp63ga15_5.dxf | 108420\5005300\pd-rp63ga15_6.dxf | [5 empty] | 5.6 | 5.6 |  |  | 6.3 |  | 6.3 |  |  |  |  | 19 | 16 | 13 |  | 19 | 16 | 13 | 30 | 30 | 1100 | 701 | 272 | 33 | [5 empty] | 0.121 | 0.12 | 0.12 | 0.12 | 0.12 |  |  |  |  | 0.74 | 0.74 |  | 0.69 | 0.69 | [9 empty] | 81 | 81 | 86 |  | 86 | [8 empty] | -320/-385.5/286/270/0 |  |  | 200 | 0/-385.5/286/270/0 | 200 | 320/-385.5/286/270/0 | 200 | [6 empty] | 20 |  | 19 | 35 |  |  |  | 6 | [11 empty] | 6.35 |  | 12.7 | 628/-147.5/247/0/0 | 25 | 590/5.5/185/0/0 | 25 | 608/-112.5/361/0/0 | [6 empty] | 108420\5005300\pd-rp63ga15.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=298168 | 空調機・換気\店舗・事務所用パッケージエアコン\室内ユニット\天井ビルトイン形 | PAC | 空調機・換気 | 店舗・事務所用パッケージエアコン | 天井ビルトイン形
108420 | 50053003120050 | PD-RP71GA15 | 空冷H/P PAC 天井ビルトイン形室内機 | 2019/06/21 |  | 08 | 108420\5005300\pd-rp71_80ga15_1.dxf | 108420\5005300\pd-rp71_80ga15_2.dxf | 108420\5005300\pd-rp71_80ga15_3.dxf | 108420\5005300\pd-rp71_80ga15_4.dxf | 108420\5005300\pd-rp71_80ga15_5.dxf | 108420\5005300\pd-rp71_80ga15_6.dxf | [5 empty] | 6.3 | 6.3 |  |  | 7 |  | 7 |  |  |  |  | 19 | 16 | 13 |  | 19 | 16 | 13 | 30 | 30 | 1100 | 701 | 272 | 33 | [5 empty] | 0.121 | 0.12 | 0.12 | 0.12 | 0.12 |  |  |  |  | 0.74 | 0.74 |  | 0.69 | 0.69 | [9 empty] | 81 | 81 | 86 |  | 86 | [8 empty] | -320/-385.5/286/270/0 |  |  | 200 | 0/-385.5/286/270/0 | 200 | 320/-385.5/286/270/0 | 200 | [6 empty] | 20 |  | 19 | 35 |  |  |  | 6 | [11 empty] | 9.52 |  | 15.88 | 628/-147.5/247/0/0 | 25 | 590/5.5/185/0/0 | 25 | 608/-112.5/361/0/0 | [6 empty] | 108420\5005300\pd-rp71_80ga15.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=298169 | 空調機・換気\店舗・事務所用パッケージエアコン\室内ユニット\天井ビルトイン形 | PAC | 空調機・換気 | 店舗・事務所用パッケージエアコン | 天井ビルトイン形
108420 | 50053003120050 | PD-RP80GA15 | 空冷H/P PAC 天井ビルトイン形室内機 | 2019/06/21 |  | 08 | 108420\5005300\pd-rp71_80ga15_1.dxf | 108420\5005300\pd-rp71_80ga15_2.dxf | 108420\5005300\pd-rp71_80ga15_3.dxf | 108420\5005300\pd-rp71_80ga15_4.dxf | 108420\5005300\pd-rp71_80ga15_5.dxf | 108420\5005300\pd-rp71_80ga15_6.dxf | [5 empty] | 7.1 | 7.1 |  |  | 8 |  | 8 |  |  |  |  | 19 | 16 | 13 |  | 19 | 16 | 13 | 30 | 30 | 1100 | 701 | 272 | 33 | [5 empty] | 0.121 | 0.12 | 0.12 | 0.12 | 0.12 |  |  |  |  | 0.74 | 0.74 |  | 0.69 | 0.69 | [9 empty] | 81 | 81 | 86 |  | 86 | [8 empty] | -320/-385.5/286/270/0 |  |  | 200 | 0/-385.5/286/270/0 | 200 | 320/-385.5/286/270/0 | 200 | [6 empty] | 20 |  | 19 | 35 |  |  |  | 6 | [11 empty] | 9.52 |  | 15.88 | 628/-147.5/247/0/0 | 25 | 590/5.5/185/0/0 | 25 | 608/-112.5/361/0/0 | [6 empty] | 108420\5005300\pd-rp71_80ga15.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=298170 | 空調機・換気\店舗・事務所用パッケージエアコン\室内ユニット\天井ビルトイン形 | PAC | 空調機・換気 | 店舗・事務所用パッケージエアコン | 天井ビルトイン形
108420 | 50053003120050 | PD-RP112GA15 | 空冷H/P PAC 天井ビルトイン形室内機 | 2019/06/21 |  | 08 | 108420\5005300\pd-rp112_160ga15_1.dxf | 108420\5005300\pd-rp112_160ga15_2.dxf | 108420\5005300\pd-rp112_160ga15_3.dxf | 108420\5005300\pd-rp112_160ga15_4.dxf | 108420\5005300\pd-rp112_160ga15_5.dxf | 108420\5005300\pd-rp112_160ga15_6.dxf | [5 empty] | 10 | 10 |  |  | 11.2 |  | 11.2 |  |  |  |  | 28 | 24 | 20 |  | 28 | 24 | 20 | 30 | 30 | 1400 | 701 | 272 | 42 | [5 empty] | 0.244 | 0.21 | 0.21 | 0.21 | 0.21 |  |  |  |  | 1.25 | 1.25 |  | 1.2 | 1.2 | [9 empty] | 84 | 84 | 87 |  | 87 | [8 empty] | -480/-385.5/286/270/0 |  |  | 200 | -160/-385.5/286/270/0 | 200 | 160/-385.5/286/270/0 | 200 | 480/-385.5/286/270/0 | 200 |  |  |  |  | 20 |  | 19 | 35 |  |  |  | 6 | [11 empty] | 9.52 |  | 15.88 | 778/-147.5/247/0/0 | 25 | 740/5.5/185/0/0 | 25 | 758/-112.5/361/0/0 | [6 empty] | 108420\5005300\pd-rp112_160ga15.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=298162 | 空調機・換気\店舗・事務所用パッケージエアコン\室内ユニット\天井ビルトイン形 | PAC | 空調機・換気 | 店舗・事務所用パッケージエアコン | 天井ビルトイン形
108420 | 50053003120050 | PD-RP140GA15 | 空冷H/P PAC 天井ビルトイン形室内機 | 2019/06/21 |  | 08 | 108420\5005300\pd-rp112_160ga15_1.dxf | 108420\5005300\pd-rp112_160ga15_2.dxf | 108420\5005300\pd-rp112_160ga15_3.dxf | 108420\5005300\pd-rp112_160ga15_4.dxf | 108420\5005300\pd-rp112_160ga15_5.dxf | 108420\5005300\pd-rp112_160ga15_6.dxf | [5 empty] | 12.5 | 12.5 |  |  | 14 |  | 14 |  |  |  |  | 31 | 26 | 22 |  | 31 | 26 | 22 | 30 | 30 | 1400 | 701 | 272 | 42 | [5 empty] | 0.244 | 0.24 | 0.24 | 0.24 | 0.24 |  |  |  |  | 1.45 | 1.45 |  | 1.4 | 1.4 | [9 empty] | 83 | 83 | 85 |  | 85 | [8 empty] | -480/-385.5/286/270/0 |  |  | 200 | -160/-385.5/286/270/0 | 200 | 160/-385.5/286/270/0 | 200 | 480/-385.5/286/270/0 | 200 |  |  |  |  | 20 |  | 19 | 35 |  |  |  | 6 | [11 empty] | 9.52 |  | 15.88 | 778/-147.5/247/0/0 | 25 | 740/5.5/185/0/0 | 25 | 758/-112.5/361/0/0 | [6 empty] | 108420\5005300\pd-rp112_160ga15.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=298163 | 空調機・換気\店舗・事務所用パッケージエアコン\室内ユニット\天井ビルトイン形 | PAC | 空調機・換気 | 店舗・事務所用パッケージエアコン | 天井ビルトイン形
108420 | 50053003120050 | PD-RP160GA15 | 空冷H/P PAC 天井ビルトイン形室内機 | 2019/06/21 |  | 08 | 108420\5005300\pd-rp112_160ga15_1.dxf | 108420\5005300\pd-rp112_160ga15_2.dxf | 108420\5005300\pd-rp112_160ga15_3.dxf | 108420\5005300\pd-rp112_160ga15_4.dxf | 108420\5005300\pd-rp112_160ga15_5.dxf | 108420\5005300\pd-rp112_160ga15_6.dxf | [5 empty] | 14 | 14 |  |  | 16 |  | 16 |  |  |  |  | 34 | 29 | 24 |  | 34 | 29 | 24 | 30 | 30 | 1400 | 701 | 272 | 42 | [5 empty] | 0.244 | 0.29 | 0.29 | 0.29 | 0.29 |  |  |  |  | 1.7 | 1.7 |  | 1.65 | 1.65 | [9 empty] | 85 | 85 | 87 |  | 87 | [8 empty] | -480/-385.5/286/270/0 |  |  | 200 | -160/-385.5/286/270/0 | 200 | 160/-385.5/286/270/0 | 200 | 480/-385.5/286/270/0 | 200 |  |  |  |  | 20 |  | 19 | 35 |  |  |  | 6 | [11 empty] | 9.52 |  | 15.88 | 778/-147.5/247/0/0 | 25 | 740/5.5/185/0/0 | 25 | 758/-112.5/361/0/0 | [6 empty] | 108420\5005300\pd-rp112_160ga15.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=298164 | 空調機・換気\店舗・事務所用パッケージエアコン\室内ユニット\天井ビルトイン形 | PAC | 空調機・換気 | 店舗・事務所用パッケージエアコン | 天井ビルトイン形