## 108420p0
| MAKERCODE | CGRYCODE | NAME1 | NAME2 | DATE | MANUF_STOP | SPVER | FLA_FILE | FRO_FILE | REA_FILE | RIT_FILE | LEF_FILE | BOT_FILE | ETC_FILE | ASS_FLG | REF_AB&HZ50&COMP@QRT | REF_AB&HZ60&COMP@QRT | REF_AB&COMP@QRT | ACL_AB&HZ50@QKW | ACL_AB&HZ60@QKW | ACL_AB&MAX@QKW | ACL_AB&MIN@QKW | HTS_AB&HZ50@QKW | HTS_AB&HZ50&LOTMP@QKW | HTS_AB&HZ60@QKW | HTS_AB&HZ60&LOTMP@QKW | HTS_AB&MAX@QKW | HTS_AB&MIN@QKW | SA_Q&HZ50@M3M | SA_Q&HZ50&HIGH@M3M | SA_Q&HZ50&MID@M3M | SA_Q&HZ50&LOW@M3M | SA_Q&HZ60@M3M | SA_Q&HZ60&HIGH@M3M | SA_Q&HZ60&MID@M3M | SA_Q&HZ60&LOW@M3M | SP&HZ50@PA | SP&HZ60@PA | NOISE_PWL&HZ50&HIGH@DB | NOISE_PWL&HZ50&MID@DB | NOISE_PWL&HZ50&LOW@DB | NOISE_PWL&HZ60&HIGH@DB | NOISE_PWL&HZ60&MID@DB | NOISE_PWL&HZ60&LOW@DB | NOISE_PWL&ACL&HZ50@DB | NOISE_PWL&ACL&HZ60@DB | NOISE_PWL&HTS&HZ50@DB | NOISE_PWL&HTS&HZ60@DB | SIZE_W@MM | SIZE_D@MM | SIZE_H@MM | PRD_QA@WKG | PHASE@ES | VOLTAGE@EV | ELEC_OUT&HZ50&COMP@EKW | ELEC_OUT&HZ60&COMP@EKW | ELEC_OUT&COMP@EKW | ELEC_OUT&FAN@EKW | ELECONSUM&ACL&HZ50@EKW | ELECONSUM&ACL&HZ60@EKW | ELECONSUM&HTS&HZ50@EKW | ELECONSUM&HTS&HZ60@EKW | ELECONSUM&HTS&HZ50&LOTMP@EKW | ELECONSUM&HTS&HZ60&LOTMP@EKW | ELECONSUM&HZ50@EKW | ELECONSUM&HZ60@EKW | OPE_A&ACL&HZ50@EA | OPE_A&ACL&HZ60@EA | OPE_A&ACL&MAX@EA | OPE_A&HTS&HZ50@EA | OPE_A&HTS&HZ60@EA | OPE_A&HTS&MAX@EA | OPE_A&HT&HZ50@EA | OPE_A&HT&HZ60@EA | OPE_A&HZ50@EA | OPE_A&HZ50&HTER@EA | OPE_A&HZ60@EA | OPE_A&HZ60&HTER@EA | STRT_A&HZ50@EA | STRT_A&HZ60@EA | ELEC_EF&ACL&HZ50@EFF | ELEC_EF&ACL&HZ60@EFF | ELEC_EF&HTS&HZ50@EFF | ELEC_EF&HTS&HZ50&HTER@EFF | ELEC_EF&HTS&HZ60@EFF | ELEC_EF&HTS&HZ60&HTER@EFF | ELEC_EF&HT&HZ50@EFF | ELEC_EF&HT&HZ60@EFF | ELEC_EF&HZ50@EFF | ELEC_EF&HZ60@EFF | RA_CONNECT&IN&LOC@MM | RA_CONNECT&IN&SIZE_W@MM | RA_CONNECT&IN&SIZE_H@MM | SA_CONNECT&OUT&LOC&NO01@MM | SA_CONNECT&OUT&SIZE_P&NO01@MM | SA_CONNECT&OUT&LOC&NO02@MM | SA_CONNECT&OUT&SIZE_P&NO02@MM | SA_CONNECT&OUT&LOC&NO03@MM | SA_CONNECT&OUT&SIZE_P&NO03@MM | SA_CONNECT&OUT&LOC&NO04@MM | SA_CONNECT&OUT&SIZE_P&NO04@MM | SA_CONNECT&OUT&LOC&NO05@MM | SA_CONNECT&OUT&SIZE_W&NO05@MM | SA_CONNECT&OUT&SIZE_H&NO05@MM | OA_CONNECT&SIZE_P@MM | OA_CONNECT&SIZE_W@MM | OA_CONNECT&SIZE_H@MM | AIR_DBT&INDOR&ACL@THC | AIR_DBT&INDOR&HTS@THC | AIR_WBT&INDOR&ACL@THC | AIR_OST_DB&ACL@THC | AIR_OST_DB&HTS@THC | AIR_OST_DB&HTS&LOW@THC | AIR_OST_WB&ACL@THC | AIR_OST_WB&HTS@THC | AIR_OST_WB&HTS&LOW@THC | C_T&ACL&IN@THC | H_T&HTS&IN@THC | CDH_T&ACL&IN@THC | CDH_T&HTS&IN@THC | CD_T&IN@THC | CH_CONNECT&IN&LOC@MM | CH_CONNECT&OUT&LOC@MM | CD_CONNECT&IN&OUT&METH | CD_CONNECT&IN&LOC@MM | CD_CONNECT&OUT&LOC@MM | RL_CONNECT&IN&SIZE_P@MM | RL_CONNECT&IN&LOC@MM | RG_CONNECT&IN&SIZE_P@MM | RG_CONNECT&IN&LOC@MM | D_CONNECT&OUT&SIZE_P@ASIZ | D_CONNECT&OUT&LOC@MM | CH_PLS&HZ50@KPA | CH_PLS&HZ60@KPA | CDH_PLS&HZ50@KPA | CDH_PLS&HZ60@KPA | CD_PLS&HZ50@KPA | CD_PLS&HZ60@KPA | 3D_D_FILE | 製品情報
59 | 108420 | 50053003220070 | PEFY-P22MLG9 | ビル用マルチ 天井埋込形室内機 | 2022/9/15 |  | 08 | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_1.dxf | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_2.dxf | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_3.dxf | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_4.dxf | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_5.dxf | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_6.dxf | [5 empty] | 2.2 | 2.2 |  |  | 2.5 |  | 2.5 |  |  |  |  | 7.9 | 5.8 | 4.8 |  | 7.9 | 5.8 | 4.8 | 5 | 5 | 49 | 46 | 44 | 49 | 46 | 44 |  |  |  |  | 650 | 580 | 292 | 18 | 1 | 200 |  |  |  | 0.023 | 0.06 | 0.07 | 0.06 | 0.07 |  |  |  |  | 0.32 | 0.36 |  | 0.32 | 0.36 | [30 empty] | 0/-305/-76.8/270/0 | 480 | 100 |  |  |  | 27 | 20 | 19 | 35 | 7 |  |  | 6 | [11 empty] | 6.35 | -330.2/-109/-188.8/180/0 | 12.7 | -338.2/-136.4/-36.7/180/0 | 20 | -326.3/-167.1/-250.8/180/0 | [6 empty] | 108420\5005300\pefy-p22_28_36mlg9.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=320325
60 | 108420 | 50053003220070 | PEFY-P28MLG9 | ビル用マルチ 天井埋込形室内機 | 2022/9/15 |  | 08 | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_1.dxf | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_2.dxf | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_3.dxf | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_4.dxf | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_5.dxf | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_6.dxf | [5 empty] | 2.8 | 2.8 |  |  | 3.2 |  | 3.2 |  |  |  |  | 7.9 | 5.8 | 4.8 |  | 7.9 | 5.8 | 4.8 | 5 | 5 | 50 | 46 | 45 | 50 | 46 | 45 |  |  |  |  | 650 | 580 | 292 | 18 | 1 | 200 |  |  |  | 0.023 | 0.06 | 0.07 | 0.06 | 0.07 |  |  |  |  | 0.32 | 0.36 |  | 0.32 | 0.36 | [30 empty] | 0/-305/-76.8/270/0 | 480 | 100 |  |  |  | 27 | 20 | 19 | 35 | 7 |  |  | 6 | [11 empty] | 6.35 | -330.2/-109/-188.8/180/0 | 12.7 | -338.2/-136.4/-36.7/180/0 | 20 | -326.3/-167.1/-250.8/180/0 | [6 empty] | 108420\5005300\pefy-p22_28_36mlg9.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=320327
61 | 108420 | 50053003220070 | PEFY-P36MLG9 | ビル用マルチ 天井埋込形室内機 | 2022/9/15 |  | 08 | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_1.dxf | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_2.dxf | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_3.dxf | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_4.dxf | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_5.dxf | 108420\5005300\pefy-p22_28_36mlg9_service_space_1_6.dxf | [5 empty] | 3.6 | 3.6 |  |  | 4 |  | 4 |  |  |  |  | 9.3 | 5.8 | 4.8 |  | 9.3 | 5.8 | 4.8 | 5 | 5 | 53 | 47 | 46 | 53 | 47 | 46 |  |  |  |  | 650 | 580 | 292 | 18 | 1 | 200 |  |  |  | 0.028 | 0.08 | 0.09 | 0.08 | 0.09 |  |  |  |  | 0.41 | 0.46 |  | 0.41 | 0.46 | [30 empty] | 0/-305/-76.8/270/0 | 480 | 100 |  |  |  | 27 | 20 | 19 | 35 | 7 |  |  | 6 | [11 empty] | 6.35 | -330.2/-109/-188.8/180/0 | 12.7 | -338.2/-136.4/-36.7/180/0 | 20 | -326.3/-167.1/-250.8/180/0 | [6 empty] | 108420\5005300\pefy-p22_28_36mlg9.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=320329
62 | 108420 | 50053003220070 | PEFY-P22MLG9-R | ビル用マルチ 天井埋込形室内機 | 2022/9/15 |  | 08 | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_1.dxf | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_2.dxf | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_3.dxf | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_4.dxf | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_5.dxf | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_6.dxf | [5 empty] | 2.2 | 2.2 |  |  | 2.5 |  | 2.5 |  |  |  |  | 7.9 | 5.8 | 4.8 |  | 7.9 | 5.8 | 4.8 | 5 | 5 | 49 | 46 | 44 | 49 | 46 | 44 |  |  |  |  | 650 | 580 | 292 | 18 | 1 | 200 |  |  |  | 0.023 | 0.06 | 0.07 | 0.06 | 0.07 |  |  |  |  | 0.32 | 0.36 |  | 0.32 | 0.36 | [30 empty] | 0/-305/-76.8/270/0 | 480 | 100 |  |  |  | 27 | 20 | 19 | 35 | 7 |  |  | 6 | [11 empty] | 6.35 | 330.2/-109/-188.8/0/0 | 12.7 | 338.2/-136.4/-36.7/0/0 | 20 | 327/-166/-252/0/0 | [6 empty] | 108420\5005300\pefy-p22_28_36mlg9-r.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=320326
63 | 108420 | 50053003220070 | PEFY-P28MLG9-R | ビル用マルチ 天井埋込形室内機 | 2022/9/15 |  | 08 | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_1.dxf | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_2.dxf | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_3.dxf | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_4.dxf | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_5.dxf | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_6.dxf | [5 empty] | 2.8 | 2.8 |  |  | 3.2 |  | 3.2 |  |  |  |  | 7.9 | 5.8 | 4.8 |  | 7.9 | 5.8 | 4.8 | 5 | 5 | 50 | 46 | 45 | 50 | 46 | 45 |  |  |  |  | 650 | 580 | 292 | 18 | 1 | 200 |  |  |  | 0.023 | 0.06 | 0.07 | 0.06 | 0.07 |  |  |  |  | 0.32 | 0.36 |  | 0.32 | 0.36 | [30 empty] | 0/-305/-76.8/270/0 | 480 | 100 |  |  |  | 27 | 20 | 19 | 35 | 7 |  |  | 6 | [11 empty] | 6.35 | 330.2/-109/-188.8/0/0 | 12.7 | 338.2/-136.4/-36.7/0/0 | 20 | 327/-166/-252/0/0 | [6 empty] | 108420\5005300\pefy-p22_28_36mlg9-r.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=320328
64 | 108420 | 50053003220070 | PEFY-P36MLG9-R | ビル用マルチ 天井埋込形室内機 | 2022/9/15 |  | 08 | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_1.dxf | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_2.dxf | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_3.dxf | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_4.dxf | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_5.dxf | 108420\5005300\pefy-p22_28_36mlg9-r_service_space_1_6.dxf | [5 empty] | 3.6 | 3.6 |  |  | 4 |  | 4 |  |  |  |  | 9.3 | 5.8 | 4.8 |  | 9.3 | 5.8 | 4.8 | 5 | 5 | 53 | 47 | 46 | 53 | 47 | 46 |  |  |  |  | 650 | 580 | 292 | 18 | 1 | 200 |  |  |  | 0.028 | 0.08 | 0.09 | 0.08 | 0.09 |  |  |  |  | 0.41 | 0.46 |  | 0.41 | 0.46 | [30 empty] | 0/-305/-76.8/270/0 | 480 | 100 |  |  |  | 27 | 20 | 19 | 35 | 7 |  |  | 6 | [11 empty] | 6.35 | 330.2/-109/-188.8/0/0 | 12.7 | 338.2/-136.4/-36.7/0/0 | 20 | 327/-166/-252/0/0 | [6 empty] | 108420\5005300\pefy-p22_28_36mlg9-r.dwg | https://www.mitsubishielectric.co.jp/ldg/wink/ssl/displayProduct.do?pid=320330